## CCTV
Central Institute of Plastics Engineering and Technology
Tender No :- CIPET:CSTS/HYD/PUR-CCTV/ET-02/2019-20
Name of Work :- Supply & Installation of CCTV Cameras at CIPET:CSTS, Hyderabad
Price Bid
Name of the Contractor/Firm/Company/Vendor
S. No. | Description of the Item/Work | Unit | Qty. | Make/ Model | Basic Price Per Unit. | Taxes (Rs.) | Other Charges, if any (Rs.) Per Unit | Rate Per Unit. all inclusive (Rs.) | Total Amount (Rs.)
1 | Supply & Installation of Dome Camera 1 MP Dome, ¼” CMOS Sensor, 3.6 mm Lens, 24 IR LED Make : Hikvision, TP-Link, Sparsh, Godrej or Equivalent | Nos. | 60 |  |  |  |  | 0 | 0
2 | Supply & Installation of DVR 16 Channel standalone with power supply for 16 camera video compression H.264, Ethernet, Mobile View, Mouse Multiplex, DVD-RW/HDD/SD Card via USB, Simultaneous Playback all channels, Digital Zoom (Live & Playback) Make : Hikvision, TP-Link, Sparsh, Godrej or Equivalent | Nos. | 4 |  |  |  |  | 0 | 0
3 | Hard Disc 2 TB for Recording Make : Seagate or Equivalent | Nos. | 4 |  |  |  |  | 0 | 0
4 | Supply & Installation of DVR Rack (12U) with Power Supply | Nos. | 2 |  |  |  |  | 0 | 0
5 | Supply & Installation of UPS 2 KVA Online Make : APC, Numeric |  | 2 |  |  |  |  | 0 | 0
6 | Supply & Installation of LED Screen Professional Grade with Mounting arrangement, Connectivity : 2 X HDMI & 2 X USB, Display Resolution : 1920 X 1080, Screen Size : 40”, Type : LED Make: Sony/Samsung/Panasonic/LG | Nos. | 2 |  |  |  |  | 0 | 0
7 | Laying of Cable Charges | Mtr. | 4500 |  |  |  |  | 0 | 0
| GRAND TOTAL IN FIGURE | [7 empty] | 0
| GRAND TOTAL IN WORDS |  |  |  |  | #VALUE!
Note: *In case of discrepancy between unit price and total price, the unit price shall prevail. *Price should be quoted exactly as per the format given above. *CIPET Hyderabad reserves the right to increase or decrease the quantity..