## Pricebid
Central Institute of Plastics Engineering and Technology
Tender No :- CIPET/CSTS/GHY/ADM/E-TENDER.-01/FSM/2019-20
'Name of Work :- Supply & Installation of Fire Preventions and Fire Safety Measures in Building / Premises of CIPET: CSTS - Guwahati.
Price Bid
Name of the Contractor/Firm/Company/Vendor
Sl. No. (A) | Details of Items / Commissioning / Installation / Construction (B) | Unit | Rate per Unit (D) | Amount (E) = (C) X (D)
1 | 4 kg ABC Type Fire Extinguisher (Reputed Brand with ISI Mark) | 94 |  | 0
2 | 4.5 kg CO2 Type Fire Extinguisher (Reputed Brand with ISI Mark) | 25 |  | 0
3 | 9 L Mechanical Foam (Reputed Brand with ISI Mark) | 1 |  | 0
4 | Water Riser cum Down Comer (Including the following): 1. MS Pipes (100mm Dia.) 4” & 3” complete pipe (2 line) 2. Landing Valve, RRL Hose Pipe, Male-Female coupling, Branch Pipe, Box complete set (4 nos.) 3. Hose Reel Drum Complete Set (4 nos.) 4. 3 HP Pump & Starter Unit (2 set) 5. PE Water Storage Tanks of reputed brand (5000 liters X 2 nos.) with inlet connection from nearest source pipe. 6. NRV 100 mm (2 set) 7. Butterfly Valve 100 mm (4 nos.) 8. Air Release Valve with pressure meter (2 set) 9. 2-way valve (2 nos.) 10. Fire Alarm - Manual (6 set) 11. All Necessary Pipes (all types & sizes), Valves (all types & sizes), gaskets, Nipples, electrical wires, MCB, PVC conduit & fittings etc. for installation, commissioning etc. as necessary 12. Making, Testing and Transportation charges. Any other charges. | 1 |  | 0
Note: 1. In case of discrepancy between unit price and total price, the unit price shall prevail. 2. Price should be quoted exactly as per the format given above.